## Slide 1: Corneal Oxygen Deficiency
Oxygen In Relations To Corneal Health

## Slide 2: About COD

## Slide 3: What is COD?
Chronic levels of hypoxia.
Also called “cumulative corneal stress”, “corneal exhaustion” or “corneal fatigue syndrome”.
= Corneal Oxygen Deficiency

## Slide 4: How quickly can COD happen?
A 10% decrease in oxygen to the cornea causes hypoxic changes in as little as 300 seconds (5 minutes!).
The effects of COD can add up over hours, days & years!
Notes: Benjamin and Hill (1985) showed that as little as a 25% decrease in available oxygen causes the cornea to respond in a hypoxic manner in as little as 300 seconds (5 minutes). And even though the Sherpas living in the Himalayas survive with reduced oxygen at 120 mmHg, it is not clear whether the cornea as a specific tissue has a mechanism to allow a similar type of adaptation; therefore it is uncertain if the cornea ever adapts to the lower level of available oxygen even as people live in one location for many years (Brennan 1998 Optician).

## Slide 5: Who Gets COD?
COD has been documented to occur in soft contact lens wearers.
500,000 of soft contact lens wearers may suffer from corneal problems due to lack of oxygen and do not realize it.
Early signs may be subtle and difficult to detect with standard clinical instrumentation.
Wearing low Dk/t contact lenses for long days, 7 days a week and napping in lenses puts a wearer at risk of COD.

## Slide 6: About Oxygen & Ocular Health

## Slide 7: How does the cornea get its O2 if it doesn’t have blood vessels?
Unlike most human tissue, the corneal is avascular, rendering it transparent, and it does not rely on the blood supply for nutrients.
The oxygen required for corneal metabolism is derived principally from the atmosphere, diffused across a thin tear layer to the anterior corneal surface.
Traditional contact lens forms a barrier, reducing the amount of oxygen available to the cornea.
Reduced oxygen supply can result in changes to the epithelium, stroma and endothelium.

## Slide 8: Why does the cornea need to breathe?
The epithelium and endothelium control the amount of water in the cornea. They need oxygen to pump water in and out.
If they don’t have oxygen, the cornea SWELLS. It gets THICKER. This is called Corneal Oedema.

## Slide 9: The open eye
eyelid
eyelid
eyelashes
conjunctiva
conjunctiva
OXYGEN
cornea
eyelashes

## Slide 10: The closed eye
eyelid
eyelid
conjunctiva
conjunctiva
OXYGEN
3.2% corneal swelling every night.
This is normal.
Oxygen comes from the palpebral conjunctiva and the aqueous humour, some may come from the atmosphere is the lids are not fully closed.

## Slide 11: Daily wear contact lenses
eyelid
eyelid
contact lens
conjunctiva
conjunctiva
OXYGEN
Lenses need to be oxygen permeable

## Slide 12: Napping in contact lenses
eyelid
eyelid
conjunctiva
conjunctiva
OXYGEN
Lenses need to be highly oxygen permeable

## Slide 13: What happens if the eyes don’t get enough oxygen?
If oxygen is blocked to the cornea with a low Dk/t (i.e. low oxygen transmission) contact lens, over time:
  The eyes become red and bloodshot.
  The endothelial layer of your cornea is damaged. If one cell dies, the neighbours enlarge to fill the gap – polymegethism (many shapes).
  Blood vessels grow from the limbus (edge of eye) into the cornea –neovascularisation (new vessels).
  The eye becomes more vulnerable to infection.

## Slide 14: What does COD look like?

## Slide 15: COD Signs
Eyes become more red/bloodshot
Corneal endothelium is damaged – polymegethism
Blood vessels grow into the cornea – neovascularisation
Refractive error shift (0.50D or more) (myopic shift)
Corneal edema
Corneal staining/epithelial integrity compromised
Increased bacterial binding, the eye becomes more vulnerable to infection
*occurs to varying degree

## Slide 16: Eyes suffering from COD
Notes: This is an eye that shows quite a bit of redness. Examination shows neovascularization (new vessels growing into the cornea because there is not enough oxygen). The cornea showed slight edema and some corneal staining. Over time there was a slow but steady corneal steepening caused by the low level of edema. This resulted in fluctuating vision and increased myopia over a period of several years.
The patient experienced symptoms of dryness and decreased wearing time. The patient also noticed blurry and fluctuating vision and often felt like her eyes were “burning.” When she got home her eyes would often feel so tired that she would remove her contact lenses and wear her spectacles at home. But unfortunately due to the corneal edema, her vision with spectacles was never that clear either.

## Slide 17: Chronically red eyes
30-35% of patients in low Dk hydrogels had some degree of limbal redness
35-40% had conjunctival redness
Notes: <number>
<footer>
<header>
<date/time>

## Slide 18: What does COD feel like?
The contact lens wearers might not feel COD.
But they may notice they can‘t wear their lenses for long days.
They may even suffer some end-of-day symptoms of discomfort and dryness.
Two large studies have shown that symptoms of dryness are related to discontinuation of lens wear. (Doughty 1997, Begley 2001).
COD FACTS
Notes: <number>
<footer>
<header>
<date/time>

## Slide 19: Oxygen Transmissibility

## Slide 20: What is Dk?
Dk = Oxygen Permeability
In order for oxygen to pass through a contact lens material, the molecules must first dissolve into the material and then travel through it.
Dk is independent of lens design or thickness
Diffusion coefficient (D)
Solubility coefficient (k)

## Slide 21: High Dk and low Dk
Dk is Oxygen Permeability
Two lenses of the same thickness:
High Dk – more oxygen
Low Dk – less oxygen

## Slide 22: What is Dk/t?
Dk/t takes the material and the design into account.
It is a better measure of how much oxygen is getting to the eye.
This lets us make comparisons between contact lens types/brands.
Dk/t =oxygen transmissibility
Dk = oxygen permeability
T = lens thickness
Notes: <number>
<footer>
<header>
<date/time>

## Slide 23: The effects of lens power on transmissibility
Product guides quote the Dk/t for a -3.00DS lens.
Any increase in lens thickness reduces Dk/t (oxygen transmission), even if the material (Dk) is the same.
So, because higher power lenses (both plus and minus) are thicker than lower power lenses, they will have lower Dk/t. Less oxygen will get through.
So for a given design and material, higher power lenses often have lower oxygen transmissibility.
+3.00 DS
+10.00 DS
Higher Dk/t
Lower Dk/t
Lower Dk/t
-10.00 DS
-3.00 DS
Lower Rx
Higher Rx
Higher Rx
Notes: We have achieved superior oxygen transmissibility compared to other marketed silicone hydrogels, across the entire diameter of the lens. Surpassing the Holden-Mertz criterion and being the only silicone hydrogel to meet the Harvitt Bonnano criterion of Dk/t of 125.

## Slide 24: How much oxygen is enough?

## Slide 25: The oxygen requirements to avoid signs of corneal oxygen deficiency are high
Daily Wear – short days/part time wear – Dk/t 24
Extended or continuous wear – Dk/t 125
Not all soft contact lenses on the market meet these criteria
What about long days and occasional napping in lenses?
The Dk/t for today’s daily wear schedules should be much higher than 24
1 Harvitt and Bonano 1999 . Holden Mertz 1987

## Slide 26: Why isn’t DK/t 24 always enough?
There is a high variability in oxygen metabolism and there is no simple test to predict oxygen requirements for individual lens wearers.
Wearers experience increased oxygen needs resulting from environmental conditions (altitude, dryness, etc.).
87% patients wear their lenses for very long days and 84% of patients currently nap in their lenses3.
3 CIBA Vision. Data on file.

## Slide 27: Why isn’t DK/t 24 always enough?
Holden, Mertz & McNally 1983
There is a high variability in oxygen metabolism!
Notes: <number>
<footer>
<header>
<date/time>
29
To highlight this, here are some of the data from the Holden Mertz study. The graph shows the average, highest and lowest response to overnight wear of a low Dk contact lens. To illustrate this data I have attributed these data points to Miss Sensitive, Mr Average and an Optometry student who finances his beer drinking by participating in clinical trials. Whereas Mr Average showed about 10% corneal oedema on waking, Miss Sensitive showed 16% whereas our optometry student showed approximately 6% of corneal swelling. A difference of 10% swelling. Clearly each of these individuals has a different corneal oxygen requirement.

## Slide 28: Why isn’t DK/t 24 always enough?
COD FACTS
How do you know in advance how much oxygen you’ll need?
Notes: As a scuba diver preparing for a 20 minute dive, will you take tank with 20 minutes worth of oxygen (The amount of oxygen an “average” person would use over 20 minutes) or
Would you take 30 minutes of oxygen to allow you to use what you, as an individual need for the dive?

## Slide 29: Why isn’t DK/t 24 always enough?
Patients experience increased oxygen needs resulting from environmental conditions (altitude, dryness, etc.)
Notes: As patients travel to different environments, the available oxygen molecules (shown as mmHg) decrease at higher altitudes even though the percentage of oxygen remains constant at 21%. Traveling from sea level to Denver, an 11% decrease in available oxygen molecules occur. A week long vacation in Mexico City which has 21% fewer O2 modules, may cause the cornea to show signs of hypoxic stress for patients who were doing fine with their lenses when they were back home.
And while few people may ever climb Mt. Everest with only about one third of the available oxygen, this situation is actually very similar to the oxygen level the cornea experiences while sleeping without a contact lens in place, and therefore even sleep takes its toll on the cornea (Hill, 1988).
Patients who are successful contact lens wearers at sea level or within a few thousand feet of that richest oxygen environment may find a stay at higher altitudes less accommodating due to lower oxygen densities. Both the diminished efficiency of contact lens transmissibility and the reduced oxygen levels provided by tear bulk flow (blink exchange) may push the marginally successful fit below its tolerance threshold under such conditions. The same may occur during prolonged periods of time in aircraft cabins which are pressurized at less-than-sea level oxygen tensions.
Also, the 20-30% less available oxygen molecules in a pressurized airplane will impact almost every patient. Imagine how much oxygen a cornea would need if someone took a nap on an airplane. Not that that ever happens! does it ?

## Slide 30: Why isn’t DK/t 24 always enough?
CIBA Vision U&A Study 2003 with 2700 consumer in Europe
COD FACTS
More contact lens users nap in their lenses:84% !
Long wearing days

## Slide 31: History of contact lens
1508: Leonardo da Vinci introduced the concept of contact lens: placing the eyes on a container full of water, which changes the angle of corneal refraction
1880’s: contact lens made of glasses
1936: contact lens made of plastic (PMMA)
1962: soft lens available in the market. In the next 10 years till now, soft lens is widely accepted by most users
  Advantages: High water content, softer lens, more comfortable, oxygen permeable
1971: Launch of PMMA lens with Silicon content, which is the materials used for modern hard oxygen permeable lens (RGP)
  Advantages: Good optical performance, effective in rectifying astigmatism/presbyopia, control worsening of short-sightedness, high oxygen permeability, easy to clean
1998: Launch of soft lens with Silicon content, i.e. Silicone Hydrogel; it combines the benefits of both soft lens and hard oxygen permeable lens (RGP)

## Slide 32: The 2nd generation of high permeable contact lenses

## Slide 33: Revolutionary silicone hydrogel technology
A new standard for all contact lenses.
Silicone hydrogel material and a biocompatible surface.
Permanent chemically bonded surface treatment that enhances wettability and biocompatibility.

## Slide 34
Dk/t and H2O
Conventional Lenses
Silicone Hydrogels
Brand 5
Brand 6
Brand 8
Brand 1
Brand 2
Brand 3
Brand 4
Brand 7
2005-1-0005
Notes: These relationships are beautifully illustrated in this graph. As can be seen, increasing water content of conventional lenses does slightly increase the resultant Dk/t, but still to a very low level. With the silicone hydrogel lenses shown, Dk/t levels climb significantly with increased silicone content of the lenses.

## Slide 35: Hydrogel lens vs. silicone hydrogels
Ordinary hydrogel lens
after 6 hours
Same eye silicone hydrogel
after 30 nights’ wear
Notes: We now enjoy the physiological benefits silicone hydrogels deliver.
New silicone hydrogels have eliminated physiological changes due to hypoxia for the majority of patients for higher Dk materials
Edema data: Fonn et al, 1998
CL induced striae, microcysts and endo polymeg are rarely seen keay et al 2000
Microcysts: Dumbleton et al
Less limbal redness: Papas et al 1997
No myopic shift: Dumbleton et al
No increase bacterial binding: Cavanagh
Corneal integrity: Polse et al
The new highly oxygen-permeable silicone hydrogel materials have eliminated physiological changes due to hypoxia for the majority of patients for higher Dk materials. Overnight edema levels with the new generation materials are similar to the levels seen with no lens wear and are far lower than those with commercially-available disposable soft lenses. Contact lens-induced corneal striae, microcysts (Figure 2) and lens-induced endothelial polymegethism are rarely, if ever, seen with the higher oxygen-transmissible silicone hydrogels. Silicone hydrogel lenses also reduce limbal redness (Figures 3 and 4) and eliminate limbal vascularization experienced by previous wearers of low Dk extended wear lenses, leaving only ghost vessels. The myopic shifts observed with disposable hydrogel extended wear lenses also do not occur with silicone hydrogels.

## Slide 36: Patient benefits of silicone hydrogel :high Dk/t
1-7 Data on file
Decreases
Promotes long-term corneal health:
Reduces Epithelial permeability (Lin, Polse, et al)1
Reduces Acidosis (Lin, Polse, et al)1
Reduces Corneal oedema (Fonn, et al)3
Reduces Bacterial adherence (Ren Cavanaugh)4
Reduces Endothelial polymegathism (Tighe, et al)5
Reduces Limbal injection (Papas)6

## Slide 37: Patient benefits of silicone hydrogel : safer
Safer: Higher Dk/t than traditional hydrogels
Promotes long-term corneal health.
Low water content:
  Suitable for dry eyes
  Decreased dehydration
Brighter, whiter, healthy-looking eyes

## Slide 38: Patient benefits of silicone hydrogel
Ideal for soft contact lens wearers who:
Want breathable lenses for healthy daily wear.
Want outstanding all-day comfort.
May exhibit signs or symptoms of corneal oxygen deficiency.
May have stopped wearing lenses due to lens discomfort or corneal oxygen deficiency.
Want to wear lenses for a full day – however long that may be.
Want value in a high-performance lens.
Want whiter, brighter, healthy-looking eyes.

## Slide 39: Conclusion
People in Hong Kong are health conscious, but the findings show that most respondents tackle their COD problems inappropriately and not dealing with the root cause of the issue.
COD symptoms such as eye redness and bloodshot, can be improved by wearing high oxygen permeable contact lenses, but polymegethism and neovascularisation are irreversible, some patients even may not be able to wear contact lenses thereafter. Although there are not many cases, we should be aware of this problem.
Since wearing low oxygen permeable contact lenses will cause long term defeat to our corneal health, the newly introduced contact lenses made with silicon hydrogel will improve our corneal health effectively and suit the modern living style.
Contact lens wearers should visit their optometrists every 6 months for their eye check on contact lens use and oxygen permeability.